## Sheet1
Jignesh.Parmar www.electricalnotes.wordpress.com. jiguparmar@yahoo.com
Room Detail |  |  |  |  | Unit | Sq.Foot |  | Electrical Appliances in The Room | [5 empty] | CALCULATION
Length of Room(Foot) |  | 12 |  | Width of Room(Foot) |  | 11 |  | Electrical Equipments |  |  | Electrical Lighting |  |  | Room BTU | 4125
[8 empty] | Qty | Watt | Total | Qty | Watt | Total | South window BTU | 3228.96
Windows in North Side |  |  |  | Window in South Side | [5 empty] | 0 |  |  | 0 | North Window BTU | 137.268
Qty | Lengt(Foot) | Width(Foot) |  | Qty | Lengt(Foot) | Width(Foot) |  |  |  | 0 |  |  | 0 | Windows BTU | 3366.228
1 | 3 | 3 | 0.837 | 1 | 10 | 4 | 3.72 |  |  | 0 |  |  | 0 | Occupant BTU | 0
|  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 | Equipment BTU | 0
|  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 | Lighting BTU | 0
|  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 | Total Heat Load BTU | 10857.456
|  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 | Total Cooling Required (BTU) | 10857.456
|  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0
|  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 | Required A.C (Tone) | 0.90479
|  |  | 0 |  |  |  | 0 |  |  | 0 |  |  | 0 | OR
[10 empty] | 0 |  |  | 0 | Required A.C (KW) | 3.1812
Total |  | 0.837 |  | Total |  | 3.72 |  |  |  | 0 |  |  | 0
[10 empty] | 0 |  |  | 0
Total Room Area in Sq.Foot | [5 empty] | 132 |  |  |  | 0 |  |  | 0
Is there any Blinds on The windows | [5 empty] | Yes |  |  |  | 0 |  |  | 0
Nos of Persons Who may utilize the Room | [9 empty] | 0 |  |  | 0 |  |  | Yes
[10 empty] | 0 |  |  | 0 |  |  | No
[10 empty] | 0 |  |  | 0
Sq.Foot
Sq.Meter
(Foot)
CALCULATE CAPACITY OF Room AIR CONDITIONER